## Characteristic Curves Acquisiti
N Measurement | Pumping Configuration: Single | [5 empty] | Pumping Configuration: Series | [5 empty] | Pumping Configuration: Parallel
| Trial 1 |  | Trial 2 |  | Trial 3 |  | Trial 1 |  | Trial 2 |  | Trial 3 |  | Trial 1 |  | Trial 2 |  | Trial 3
| Q (gpm) | P (psi) | Q (gpm) | P (psi) | Q (gpm) | P (psi) | Q (gpm) | P (psi) | Q (gpm) | P (psi) | Q (gpm) | P (psi) | Q (gpm) | P (psi) | Q (gpm) | P (psi) | Q (gpm) | P (psi)
1 | 0 | 12 | 0 | 12 | 0 | 12 | 0 | 23 | 0 | 23 | 0 | 23 | 0 | 12 | 0 | 12 | 0 | 12
2 | 2 | 11 | 2 | 11 | 2 | 11 | 2 | 21 | 2 | 21 | 2 | 21 | 2 | 11 | 2 | 11 | 2 | 11
3 | 4 | 9 | 4 | 9 | 4 | 9 | 4 | 19 | 4 | 19 | 4 | 19 | 3 | 10 | 3 | 10 | 3 | 10
4 | 5 | 7 | 5 | 7 | 5 | 7 | 6 | 19 | 6 | 19 | 6 | 19 | 4 | 9 | 4 | 9 | 4 | 9
5 | 6 | 10 | 6 | 10 | 6 | 10 | 8 | 18 | 8 | 18 | 8 | 18 | 7 | 10 | 7 | 10 | 7 | 10
6 | 8 | 9 | 8 | 9 | 8 | 9 | 10 | 16 | 10 | 16 | 10 | 16 | 10 | 9 | 10 | 9 | 10 | 9
7 | 10 | 8 | 10 | 8 | 10 | 8 | 12 | 13 | 12 | 13 | 12 | 13 | 13 | 8 | 13 | 8 | 13 | 8
8 | 12 | 6 | 12 | 6 | 12 | 6 | 14 | 9 | 14 | 9 | 14 | 9 | 16 | 6 | 16 | 6 | 16 | 6
9 | 14 | 4 | 14 | 4 | 14 | 4 | 16 | 4 | 16 | 4 | 16 | 4 | 19 | 4 | 19 | 4 | 19 | 4
10 | 16 | 0 | 16 | 0 | 16 | 0 | 17 | 0 | 18 | 0 | 17 | 0 | 22 | 0 | 22 | 0 | 22 | 0

## Friction Losses Data Acquisitio
Pump Configuration: Parallel
N Measurement | Pipe Size: 1" |  |  |  | Pipe Size: 3/4" |  |  |  | Pipe Size: 1/2" straight |  |  |  | Pipe Size: 1/2" coiled
| Trial 1 |  | Trial 2 |  | Trial 1 |  | Trial 2 |  | Trial 1 |  | Trial 2 |  | Trial 1 |  | Trial 2
| Q (gpm) | P (psi) | Q (gpm) | P (psi) | Q (gpm) | P (psi) | Q (gpm) | P (psi) | Q (gpm) | P (psi) | Q (gpm) | P (psi) | Q (gpm) | P (psi) | Q (gpm) | P (psi)
1 | 0 | 12 | 0 | 12 | 0 | 12 | 0 | 12 | 0 | 12 | 0 | 12 | 0 | 12 | 0 | 12
2 | 2 | 11 | 2 | 11 | 2 | 10 | 2 | 11 | 1 | 11 | 1 | 11 | 0.5 | 12 | 0.5 | 11
3 | 3 | 10 | 3 | 10 | 3 | 10 | 3 | 10 | 2 | 10 | 2 | 10 | 1 | 11 | 1 | 11
4 | 4 | 9 | 4 | 9 | 4 | 9 | 4 | 9 | 3 | 10 | 3 | 10 | 1.25 | 11 | 1.25 | 11
5 | 7 | 10 | 7 | 10 | 5 | 8 | 5 | 8 | 4 | 9 | 4 | 9 | 1.5 | 11 | 1.5 | 11
6 | 10 | 9 | 10 | 9 | 7 | 10 | 7 | 10 | 5 | 8 | 5 | 8 | 2 | 11 | 2 | 11
7 | 12 | 9 | 12 | 8 | 9 | 9 | 9 | 9 | 7 | 10 | 7 | 10 | 2.5 | 10 | 2.5 | 10
8 | 13 | 8 | 13 | 8 | 10 | 9 | 10 | 9 | 9 | 10 | 9 | 10 | 3 | 10 | 3 | 10
9 | 16 | 6 | 16 | 6 | 13 | 8 | 13 | 8 | 10 | 9 | 10 | 9 | 3.75 | 9 | 3.75 | 9
10 | 18 | 5 | 18 | 5 | 15 | 6 | 15 | 7 | 11 | 9 | 11 | 9 | 4.25 | 9 | 4.25 | 9
11 | 20 | 3 | 20 | 3 | 17 | 5 | 17 | 5 | 12 | 9 | 12 | 9 | 4.5 | 8 | 4.5 | 8
12 | 22 | 0 | 22 | 0 | 18 | 4 | 18 | 4 | 13 | 8 | 13 | 8 | 4.75 | 8 | 4.75 | 8
| pipe length | 1.0065 | m |  | pipe length | 1.2351 | m |  | pipe length | 2.4701 | m |  | pipe length | 10.903 | m
f=16/Re | Q/(pi(r^2))
Re=rho(v)D/u |  |  | D= | 0.0254 | m |  | L | 0.01905 |  |  | L | 0.0127 |  |  | L | 0.0127
rho | 1000 | kg/m^3 | mu
| gallons/min | m/s | Re | f | gallons | m/s | Re | f | gallons | m/s | Re | f | gallons | m/s | Re | f
12 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
11 | 2 | 0.24902 | 7106.865 | 15.4328 | 2 | 0.4427 | 12634.4267 | 0.0001701 | 1 | 0.49804 | 14213.73 | 0.0011257 | 0.5 | 0.24902 | 7106.865 | 0.0022513
10 | 3 | 0.37353 | 10660.2975 | 6.2355 | 3 | 0.66405 | 18951.64 | 7.2001e-05 | 2 | 0.99608 | 28427.46 | 0.00056284 | 1 | 0.49804 | 14213.73 | 0.0011257
9 | 4 | 0.49804 | 14213.73 | 3.1567 | 4 | 0.8854 | 25268.8533 | 3.645e-05 | 3 | 1.4941 | 42641.19 | 0.00037522 | 1.25 | 0.62255 | 17767.1625 | 0.00090054
10 | 7 | 0.87157 | 24874.0275 | 1.1453 | 5 | 1.1068 | 31586.0667 | 2.0736e-05 | 4 | 1.9922 | 56854.92 | 0.00028142 | 1.5 | 0.74706 | 21320.595 | 0.00075045
9 | 10 | 1.2451 | 35534.325 | 0.50507 | 7 | 1.5495 | 44220.4933 | 1.3225e-05 | 5 | 2.4902 | 71068.65 | 0.00022513 | 2 | 0.99608 | 28427.46 | 0.00056284
8.5 | 12 | 1.4941 | 42641.19 | 0.33126 | 9 | 1.9922 | 56854.92 | 7.2001e-06 | 7 | 3.4863 | 99496.11 | 0.00016081 | 2.5 | 1.2451 | 35534.325 | 0.00045027
8 | 13 | 1.6186 | 46194.6225 | 0.26565 | 10 | 2.2135 | 63172.1333 | 5.8321e-06 | 9 | 4.4824 | 127923.57 | 0.00012507 | 3 | 1.4941 | 42641.19 | 0.00037522
6 | 16 | 1.9922 | 56854.92 | 0.13153 | 13 | 2.8776 | 82123.7733 | 3.0675e-06 | 10 | 4.9804 | 142137.3 | 0.00011257 | 3.75 | 1.8677 | 53301.4875 | 0.00030018
5 | 18 | 2.2412 | 63961.785 | 0.086604 | 15 | 3.3203 | 94758.2 | 1.872e-06 | 11 | 5.4784 | 156351.03 | 0.00010233 | 4.25 | 2.1167 | 60408.3525 | 0.00026486
3 | 20 | 2.4902 | 71068.65 | 0.042089 | 17 | 3.763 | 107392.6267 | 1.1211e-06 | 12 | 5.9765 | 170564.76 | 9.3806e-05 | 4.5 | 2.2412 | 63961.785 | 0.00025015
0 | 22 | 2.7392 | 78175.515 | 0 | 18 | 3.9843 | 113709.84 | 8.0001e-07 | 13 | 6.4745 | 184778.49 | 8.659e-05 | 4.75 | 2.3657 | 67515.2175 | 0.00023698
82737.12 |  |  |  |  | pressure
75842.36 |  |  |  |  | 12
68947.6 |  |  |  |  | 10.5
62052.84 |  |  |  |  | 10
68947.6 |  |  |  |  | 9
62052.84 |  |  |  |  | 8
58605.46 |  |  |  |  | 10
55158.08 |  |  |  |  | 9
41368.56 |  |  |  |  | 9
34473.8 |  |  |  |  | 8
20684.28 |  |  |  |  | 6.5
0 |  |  |  |  | 5
4

## Hypotheticals
Hypothetical 1 | [5 empty] | velocity 1" | velocity 3/4" | velocity 1/2" straight | velocity 1/2" coiled
Q | 1300 | gph | 21.6667 | gpm |  | 0.67443 | 1.199 | 2.6977 | 2.6977 | m/s
deltaH | 5 | ft | 1.524 | m | pressure guess | -15162.6275 | -15653.9832 | -18574.0397 | -18574.0397 | Pa
[5 empty] | Bernoulli | 0 | 0 | 0 | 0 | constant
[5 empty] | Pressure | -2.1992 | -2.2704 | -2.6939 | -2.6939 | psi
[5 empty] | possible? | yes | no | no | no
Hypothetical 2
Q | 260 | gph | 4.3333 | gpm |  | 0.67443 | 1.199 | 2.6977 | 2.6977 | m/s
deltaH | 13 | ft | 3.9624 | m | pressure guess | -39058.9475 | -39550.3032 | -42470.3597 | -42470.3597 | Pa
[5 empty] | Bernoulli | 0 | 0 | 0 | 0 | constant
rho | 1000 | kg/m^3 |  |  | Pressure | -5.665 | -5.7363 | -6.1598 | -6.1598 | psi
gravity | 9.8 | m/s^2 |  |  | possible? | yes | yes | no | no
Diameter 1 | 0.0254 | m | Area 1 | 0.0020268 | m^2
Diameter 2 | 0.01905 | m | Area 2 | 0.0011401 | m^2
Diameter 3 | 0.0127 | m | Area 3 | 0.00050671 | m^2
gallon | 0.0037854 | m^3 |  |  |  |  | single | series | parallel
minute | 60 | s |  | a | 24.838 | h1 | -15.9567 | -31.9134 | 14.6393
pa | 0.000145 | psi |  | b | 0.0869 | h2 | 23.2062 | 46.4124 | 24.4301
hypothetical 1 | parallel | 1"
hypothetical 2 | single | 1" or 3/4" | ???

## Nomenclature
symbol |  | units
Δh | Head Loss | ft
Q | Flow Rate | gpm
P | Pressure | psi, Pa
ρ | Density | kg/m^3
v | Velocity | m/s
g | Gravitational Constant | m/s^2
z | Height of Fluid | m
a | Constant specific to pump | m
b | Constant specific to pump | m/(m^3/s)^2
n | Number of Pumps in Configuration | count
f | Friction Factor | dimensionless
Re | Reynolds Number | dimensionless
μ | Viscosity | Pa.s
ϵ | Relative Roughness | dimensionless
D | Diameter | m